- APPENDIX A

- F3200/NDU CONFIGURATION FORMS

The following pages are suggested as master forms for programming.  It is recommended that they be photocopied, and a complete set be filled out for each FIP before programming is started.

- When programming is complete, the forms should be checked against a database printout.

A copy of the database printout, completed forms and database disk file should be kept in the contract file for each installation.

- Refer to Appendix B for configuration forms for an ADU.

F3200/NDU SYSTEM CONFIGURATION PAGE 1	REF:...............

- SITE NAME  ...................................................................................................

- FAULT ACTION TEXT  ……………………………………………………………

- Operating mode (F3200 / NDU) :    _____

| Keypad Type AS4428.1 |  | AS1603.4 |  |
| --- | --- | --- | --- |

- Legacy Bells:  Warning System/External Bell/None:    _____

8 Zone modules : 	0 – 8  	       	MAF module present Y/N  ____

8 Relays modules : 	0 – 8  	       	LED Display boards : 0 – 33  ____

- ANCILLARY RELAY CONFIGURATION

|  | ENABLE SUPVSN. | LATCH | MAF | MODE | ISOL | TEST | SUP.ACT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ANC1 |  |  |  |  |  |  |  |
| ANC2 |  |  |  |  |  |  |  |
| ANC3 |  |  |  |  |  |  |  |

- MAF RELAY LOGIC EQUATIONS

|  | NAME | LOGIC EQUATION |
| --- | --- | --- |
| ANC1 |  |  |
| ANC2 |  |  |
| ANC3 |  |  |
| STANDBY |  |  |
| FAULT |  |  |
| ISOLATED |  |  |
| ALARM |  |  |

| Warning System maps to MAF | Y/N |  |
| --- | --- | --- |
| External Bell maps to MAF | Y/N |  |

Equation for Warning System 	WSA = …………………………….

WSF = …………………………….

Equation for External Bell 	EBA  = …………………………….

EBF  = …………………………….

F3200/NDU SYSTEM CONFIGURATION PAGE 2	REF:...............

- USER INITIALS,  AUTO TEST OPTIONS

| ACCESS CODES 0-9 USER INITIALS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| AUTO TEST |  | ALARM |  | TIME |  | DATES |  |  |  |

- SYSTEM OPTIONS

| FIP MCP Zone 0 – 64 |  |  |
| --- | --- | --- |
| All zones isolated = standby | Y/N |  |
| Activate relay for Brigade Test | Y/N |  |
| FF zones: MAF only/all/none |  |  |
| FF auto ack enable/disable | Y/N |  |
| FF allow remote ack from RDU | Y/N |  |
| FF display cause by default | Y/N |  |
| FF flash non maf alarm LEDs | Y/N |  |
| FF send non maf alarm to RDU | Y/N |  |
| FF multiple cause updates | Y/N |  |
| FF switch to newest alarm | Y/N |  |
| FF show zone number | Y/N |  |
| FF new cause new alarm | Y/N |  |
| FF show isolated alarms | Y/N |  |
| FF zone alarm shows point text | Y/N |  |

- PSU/BATTERY OPTIONS

| Mains enabled | Y/N |  | Mains Frequency | 50/60 |  |
| --- | --- | --- | --- | --- | --- |
| 8 hours mains fail = fault | Y/N |  | Battery connection test enable | Y/N |  |
| Charger high/low = fault | Y/N |  | Hourly Battery test enable | Y/N |  |
| Battery low = fault | Y/N |  | Daily Battery test enable | Y/N |  |

- BUZZER OPTIONS

| Zone alarm buzzer enable | Y/N |  | Remote sys fault reset silences | Y/N |  |
| --- | --- | --- | --- | --- | --- |
| Zone fault buzzer enable | Y/N |  | Remote FF action silences | Y/N |  |
| System fault buzzer enable | Y/N |  | Remote any command silences | Y/N |  |
| Non-MAF zone faults buzzer | Y/N |  | Receive network sounder silence | Y/N |  |
| Faults resound after 8 hours | Y/N |  | Any key TX sounder silence | Y/N |  |
| Sounder after 8 hours isolate | Y/N |  | Cmd TX sounder silence | Y/N |  |
| Sounder “8 hour” resound period |  |  |  |  |  |
| Buzzer loud when door open | Y/N |  |  |  |  |

F3200/NDU SYSTEM CONFIGURATION PAGE 3	REF:...............

- NEW ZEALAND MODE OPTIONS

| New Zealand mode enabled | Y/N |  | Evac defect is fault | Y/N |  |
| --- | --- | --- | --- | --- | --- |
| NZ Display Extender bd present | Y/N |  | External defect is fault | Y/N |  |

- KEY ENABLE/DISABLE SETTINGS

| Key | Non-FF Mode Door Open Key Enabled Y/N | FF Mode Door Open Key Enabled Y/N | Non-FF Mode Door Closed Key Enabled Y/N | FF Mode Door Closed Key Enabled Y/N |
| --- | --- | --- | --- | --- |
| Prev |  |  |  |  |
| Next |  |  |  |  |
| Ack |  |  |  |  |
| Reset |  |  |  |  |
| Isolate |  |  |  |  |
| Relay |  |  |  |  |
| External Bell Isol |  |  |  |  |
| Warn Sys Isol |  |  |  |  |
| AIF Mode |  |  |  |  |
| Clear |  |  |  |  |
| Recall |  |  |  |  |
| Ancil Isol |  |  |  |  |
| Zone |  |  |  |  |
| System |  |  |  |  |
| Numeric |  |  |  |  |
| Enter |  |  |  |  |
| Batt Test |  |  |  |  |
| OR |  |  |  |  |
| AND |  |  |  |  |
| XOR |  |  |  |  |
| NOT |  |  |  |  |
| Print |  |  |  |  |
| Set |  |  |  |  |
| Test |  |  |  |  |
| Alarm Test |  |  |  |  |
| Fault Test |  |  |  |  |
| Brigade Test |  |  |  |  |
|  | DEFAULT IS ALL ENABLED | DEFAULT IS ALL ENABLED | DEFAULT IS ALL DISABLED | DEFAULT IS ALL DISABLED |

F3200/NDU SYSTEM CONFIGURATION PAGE 4		REF:...............

- RZDU PARAMETERS

| RZDU protocol Type: LCD |  | Non-LCD |  |
| --- | --- | --- | --- |

| RZDU 1 – 8 | Enabled Y/N | Protocol A/B | MCP Zone |
| --- | --- | --- | --- |

- ALARM TEXT NAMES

| Text No | Default | Program | Text No | Default | Program |
| --- | --- | --- | --- | --- | --- |
| 1 | Smoke |  | 6 | PSW |  |
| 2 | Heat |  | 7 | SPR |  |
| 3 | FSW |  | 8 | SIP |  |
| 4 | MCP |  | 9 | Flame |  |
| 5 | VMD |  |  |  |  |

| EVENT PRINTING OPTIONS |  |
| --- | --- |
| Event printing enable/disable Y/N |  |
| Printer lines per page 0 – 250 |  |
| Printer baud rate 300 – 9600 |  |
| Print relay activate/de-activate events Y/N |  |

F3200/NDU SYSTEM CONFIGURATION PAGE 5	REF:...............

| EVENT TYPES LOGGED TO PRINTER AND HISTORY |  |  |
| --- | --- | --- |
|  | PRINTER Y/N | HISTORY Y/N |
| ZONES |  |  |
| SYSTEM |  |  |
| SYS RUN |  |  |
| CIRCUIT |  |  |
| POINT |  |  |
| RELAY |  |  |

| DAYLIGHT SAVING |  |  |
| --- | --- | --- |
|  | START | END |
| MONTH |  |  |
| HOUR |  |  |
| MINUTE |  |  |
| DAY: (one of next 1,2,3) |  |  |
| 1: LAST WEEKDAY OF (MON-SUN) |  |  |
| 2: Nth WEEKDAY OF (MON-SUN) |  |  |
| 3: DATE |  |  |
| TIME DIFFERENCE: |  |  |
| HOUR |  |  |
| MINUTE |  |  |

| LED OPERATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Local LEDs show any alarm | Y/N |  | RZDU output show any alarm | Y/N |  |
| Local LEDs show any fault | Y/N |  | RZDU output show any fault | Y/N |  |
| Local LEDs show any isolate | Y/N |  | RZDU output show any isolate | Y/N |  |
| Local LEDs show partial isolate | Y/N |  | RZDU output data is zone status zone status (Y) , LED status (N) | Y/N |  |
| Max LEDs on (0 - 240) |  |  |  |  |  |

F3200/NDU LED DISPLAY BOARD CONFIGURATION	    REF:...............

| ZONE LED DISPLAY BOARDS |  |  |  |
| --- | --- | --- | --- |
| BOARD NUMBER | 2 COLUMN / 3 COLUMN 2/3 | SHARE ISOLATE/ FAULT LED Y/N | RELAY TYPE Y/N |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |
| 16 |  |  |  |
| 17 |  |  |  |
| 18 |  |  |  |
| 19 |  |  |  |
| 20 |  |  |  |
| 21 |  |  |  |
| 22 |  |  |  |
| 23 |  |  |  |
| 24 |  |  |  |
| 25 |  |  |  |
| 26 |  |  |  |
| 27 |  |  |  |
| 28 |  |  |  |
| 29 |  |  |  |
| 30 |  |  |  |
| 31 |  |  |  |
| 32 |  |  |  |
| 33 |  |  |  |

F3200 AZC CONFIGURATION	REF:...............

- Number of Zone Modules Fitted ………………….

| 8ZM NO. |  | CCT NO. | AZC PROGRAMMING |  |  |  |  |  |  |  | FIELD WIRING |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ALMT | MODE | DLY | B1 | B3 | DLY1 | DLY2 | INST |  |
|  |  |  | 1 | 1 | 1 | 1 | 1 | - | - | 4 |  |
|  | 1 | 1 |  |  |  |  |  |  |  |  |  |
|  | 2 | 2 |  |  |  |  |  |  |  |  |  |
|  | 3 | 3 |  |  |  |  |  |  |  |  |  |
| 1 | 4 | 4 |  |  |  |  |  |  |  |  |  |
|  | 5 | 5 |  |  |  |  |  |  |  |  |  |
|  | 6 | 6 |  |  |  |  |  |  |  |  |  |
|  | 7 | 7 |  |  |  |  |  |  |  |  |  |
|  | 8 | 8 |  |  |  |  |  |  |  |  |  |
|  | 1 | 9 |  |  |  |  |  |  |  |  |  |
|  | 2 | 10 |  |  |  |  |  |  |  |  |  |
|  | 3 | 11 |  |  |  |  |  |  |  |  |  |
| 2 | 4 | 12 |  |  |  |  |  |  |  |  |  |
|  | 5 | 13 |  |  |  |  |  |  |  |  |  |
|  | 6 | 14 |  |  |  |  |  |  |  |  |  |
|  | 7 | 15 |  |  |  |  |  |  |  |  |  |
|  | 8 | 16 |  |  |  |  |  |  |  |  |  |
|  | 1 | 17 |  |  |  |  |  |  |  |  |  |
|  | 2 | 18 |  |  |  |  |  |  |  |  |  |
|  | 3 | 19 |  |  |  |  |  |  |  |  |  |
| 3 | 4 | 20 |  |  |  |  |  |  |  |  |  |
|  | 5 | 21 |  |  |  |  |  |  |  |  |  |
|  | 6 | 22 |  |  |  |  |  |  |  |  |  |
|  | 7 | 23 |  |  |  |  |  |  |  |  |  |
|  | 8 | 24 |  |  |  |  |  |  |  |  |  |
|  | 1 | 25 |  |  |  |  |  |  |  |  |  |
|  | 2 | 26 |  |  |  |  |  |  |  |  |  |
|  | 3 | 27 |  |  |  |  |  |  |  |  |  |
| 4 | 4 | 28 |  |  |  |  |  |  |  |  |  |
|  | 5 | 29 |  |  |  |  |  |  |  |  |  |
|  | 6 | 30 |  |  |  |  |  |  |  |  |  |
|  | 7 | 31 |  |  |  |  |  |  |  |  |  |
|  | 8 | 32 |  |  |  |  |  |  |  |  |  |

F3200/NDU ZONE CONFIGURATION	REF:...............

| ZONE NO |  | ZONE PROGRAMMING |  |  |  |  |  | ZONE NAME |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LATCH | MAF | ANC1 | WARN SYS | EXT BELL | LED |  |
| Defaults |  | L | M | M | M | M | ZONE NO. |  |
|  | 1 |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |
| 1 | 4 |  |  |  |  |  |  |  |
|  | 5 |  |  |  |  |  |  |  |
|  | 6 |  |  |  |  |  |  |  |
|  | 7 |  |  |  |  |  |  |  |
|  | 8 |  |  |  |  |  |  |  |
|  | 9 |  |  |  |  |  |  |  |
|  | 10 |  |  |  |  |  |  |  |
|  | 11 |  |  |  |  |  |  |  |
| 2 | 12 |  |  |  |  |  |  |  |
|  | 13 |  |  |  |  |  |  |  |
|  | 14 |  |  |  |  |  |  |  |
|  | 15 |  |  |  |  |  |  |  |
|  | 16 |  |  |  |  |  |  |  |
|  | 17 |  |  |  |  |  |  |  |
|  | 18 |  |  |  |  |  |  |  |
|  | 19 |  |  |  |  |  |  |  |
| 3 | 20 |  |  |  |  |  |  |  |
|  | 21 |  |  |  |  |  |  |  |
|  | 22 |  |  |  |  |  |  |  |
|  | 23 |  |  |  |  |  |  |  |
|  | 24 |  |  |  |  |  |  |  |
|  | 25 |  |  |  |  |  |  |  |
|  | 26 |  |  |  |  |  |  |  |
|  | 27 |  |  |  |  |  |  |  |
| 4 | 28 |  |  |  |  |  |  |  |
|  | 29 |  |  |  |  |  |  |  |
|  | 30 |  |  |  |  |  |  |  |
|  | 31 |  |  |  |  |  |  |  |
|  | 32 |  |  |  |  |  |  |  |

F3200/NDU OPEN COLLECTOR OUTPUT	REF:...............

- FUNCTION & LOGIC EQUATION

| 8ZM NO. |  | OUTPUT NO. | FUNCTION NAME | LOGIC EQUATION |
| --- | --- | --- | --- | --- |
|  | 1 | 1 |  |  |
|  | 2 | 2 |  |  |
|  | 3 | 3 |  |  |
| 1 | 4 | 4 |  |  |
|  | 5 | 5 |  |  |
|  | 6 | 6 |  |  |
|  | 7 | 7 |  |  |
|  | 8 | 8 |  |  |
|  | 1 | 9 |  |  |
|  | 2 | 10 |  |  |
|  | 3 | 11 |  |  |
| 2 | 4 | 12 |  |  |
|  | 5 | 13 |  |  |
|  | 6 | 14 |  |  |
|  | 7 | 15 |  |  |
|  | 8 | 16 |  |  |
|  | 1 | 17 |  |  |
|  | 2 | 18 |  |  |
|  | 3 | 19 |  |  |
| 3 | 4 | 20 |  |  |
|  | 5 | 21 |  |  |
|  | 6 | 22 |  |  |
|  | 7 | 23 |  |  |
|  | 8 | 24 |  |  |
|  | 1 | 25 |  |  |
|  | 2 | 26 |  |  |
|  | 3 | 27 |  |  |
| 4 | 4 | 28 |  |  |
|  | 5 | 29 |  |  |
|  | 6 | 30 |  |  |
|  | 7 | 31 |  |  |
|  | 8 | 32 |  |  |

F3200 RELAY CONFIGURATION	REF:...............

| 8RM |  | RLY | PROGRAMMING |  |  |  |  |  | TEXT NAME |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. |  | NO. | ENABLE | LATCH | MAF | ISOL | TEST | SUP-AC | (30 CHARACTERS) |  |
| DEFAULTS |  |  | E | N | M | Y | Y | Y |  |  |
|  | 1 | 1 |  |  |  |  |  |  |  |  |
|  | 2 | 2 |  |  |  |  |  |  |  |  |
|  | 3 | 3 |  |  |  |  |  |  |  |  |
| 1 | 4 | 4 |  |  |  |  |  |  |  |  |
|  | 5 | 5 |  |  |  |  |  |  |  |  |
|  | 6 | 6 |  |  |  |  |  |  |  |  |
|  | 7 | 7 |  |  |  |  |  |  |  |  |
|  | 8 | 8 |  |  |  |  |  |  |  |  |
|  | 1 | 9 |  |  |  |  |  |  |  |  |
|  | 2 | 10 |  |  |  |  |  |  |  |  |
|  | 3 | 11 |  |  |  |  |  |  |  |  |
| 2 | 4 | 12 |  |  |  |  |  |  |  |  |
|  | 5 | 13 |  |  |  |  |  |  |  |  |
|  | 6 | 14 |  |  |  |  |  |  |  |  |
|  | 7 | 15 |  |  |  |  |  |  |  |  |
|  | 8 | 16 |  |  |  |  |  |  |  |  |
|  | 1 | 17 |  |  |  |  |  |  |  |  |
|  | 2 | 18 |  |  |  |  |  |  |  |  |
|  | 3 | 19 |  |  |  |  |  |  |  |  |
| 3 | 4 | 20 |  |  |  |  |  |  |  |  |
|  | 5 | 21 |  |  |  |  |  |  |  |  |
|  | 6 | 22 |  |  |  |  |  |  |  |  |
|  | 7 | 23 |  |  |  |  |  |  |  |  |
|  | 8 | 24 |  |  |  |  |  |  |  |  |
|  | 1 | 25 |  |  |  |  |  |  |  |  |
|  | 2 | 26 |  |  |  |  |  |  |  |  |
|  | 3 | 27 |  |  |  |  |  |  |  |  |
| 4 | 4 | 28 |  |  |  |  |  |  |  |  |
|  | 5 | 29 |  |  |  |  |  |  |  |  |
|  | 6 | 30 |  |  |  |  |  |  |  |  |
|  | 7 | 31 |  |  |  |  |  |  |  |  |
|  | 8 | 32 |  |  |  |  |  |  |  |  |

F3200/NDU RELAY FUNCTIONS	REF:...............

& LOGIC EQUATIONS

| 8RM NO. |  | RELAY NO. | NAME | LOGIC EQUATION |
| --- | --- | --- | --- | --- |
|  | 1 | 1 |  |  |
|  | 2 | 2 |  |  |
|  | 3 | 3 |  |  |
| 1 | 4 | 4 |  |  |
|  | 5 | 5 |  |  |
|  | 6 | 6 |  |  |
|  | 7 | 7 |  |  |
|  | 8 | 8 |  |  |
|  | 1 | 9 |  |  |
|  | 2 | 10 |  |  |
|  | 3 | 11 |  |  |
| 2 | 4 | 12 |  |  |
|  | 5 | 13 |  |  |
|  | 6 | 14 |  |  |
|  | 7 | 15 |  |  |
|  | 8 | 16 |  |  |
|  | 1 | 17 |  |  |
|  | 2 | 18 |  |  |
|  | 3 | 19 |  |  |
| 3 | 4 | 20 |  |  |
|  | 5 | 21 |  |  |
|  | 6 | 22 |  |  |
|  | 7 | 23 |  |  |
|  | 8 | 24 |  |  |
|  | 1 | 25 |  |  |
|  | 2 | 26 |  |  |
|  | 3 | 27 |  |  |
| 4 | 4 | 28 |  |  |
|  | 5 | 29 |  |  |
|  | 6 | 30 |  |  |
|  | 7 | 31 |  |  |
|  | 8 | 32 |  |  |

F3200 RELAY FIELD WIRING	REF:...............

- Number of Relay Modules fitted :...............

| 8RM NO. |  | RELAY NO. | NAME | FIELD WIRING |
| --- | --- | --- | --- | --- |
|  | 1 | 1 |  |  |
|  | 2 | 2 |  |  |
|  | 3 | 3 |  |  |
| 1 | 4 | 4 |  |  |
|  | 5 | 5 |  |  |
|  | 6 | 6 |  |  |
|  | 7 | 7 |  |  |
|  | 8 | 8 |  |  |
|  | 1 | 9 |  |  |
|  | 2 | 10 |  |  |
|  | 3 | 11 |  |  |
| 2 | 4 | 12 |  |  |
|  | 5 | 13 |  |  |
|  | 6 | 14 |  |  |
|  | 7 | 15 |  |  |
|  | 8 | 16 |  |  |
|  | 1 | 17 |  |  |
|  | 2 | 18 |  |  |
|  | 3 | 19 |  |  |
| 3 | 4 | 20 |  |  |
|  | 5 | 21 |  |  |
|  | 6 | 22 |  |  |
|  | 7 | 23 |  |  |
|  | 8 | 24 |  |  |
|  | 1 | 25 |  |  |
|  | 2 | 26 |  |  |
|  | 3 | 27 |  |  |
| 4 | 4 | 28 |  |  |
|  | 5 | 29 |  |  |
|  | 6 | 30 |  |  |
|  | 7 | 31 |  |  |
|  | 8 | 32 |  |  |

F3200/NDU ZONE DISPLAY	REF:...............

BOARD LED OUTPUT LOGIC CONTROL	PAGE..... of ......

| LOGICAL RELAY NO (65-256) | LED SET (1-64) | ALARM, FAULT, ISOLATE | LOGIC EQUATION |
| --- | --- | --- | --- |

F3200/NDU TIMERS, VARIABLES, 	REF:...............

- NETWORK VARIABLES & ZONE ISOLATE/

- DEISOLATE/RESET EQUATIONS

| TIMER/VARIABLE/ NETVARS/ZONE CMD | LOGIC EQUATION |
| --- | --- |

F3200/NDU CONFIGURATION SHEETS	REF:...............

NETWORK PARAMETERS.   FILL IN VALUES FOR ALL PARAMETERS THAT ARE BEING CHANGED FROM DEFAULT.

| NETWORK SETUP |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| NETWORK ENABLED (Y/N) |  | POINT ACCESS (Y/N) |  |  |  |
| LOCAL SID NUMBER |  | NIC Y/N |  | RX TIMEOUT |  |
| TX DELAY |  | ACK TIME |  | DUP TIME |  |
| LEADING FF |  | TRAILING FF |  | LINK TX Y/N |  |
| LINK TX TIME |  | LINK RX TIME |  | GROUPS |  |
| ACK BROADCASTS Y/N |  | BAUD RATE |  | RETRIES |  |
| SLOTS |  | MODE B 0 – 7 |  | ACK BROADCASTS |  |
| MODE: MULTIDROP/POINT TO POINT M/P |  |  |  | TO SPECIFIC SID |  |

| NETWORK MAF CONFIG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| REFRESH TX TIME |  |  |  |  |  |  |  |  | MAX COS RATE |  |  |  |  |  |  |
| RECEIVE WARNING SYSTEM SILENCE Y/N |  |  |  |  |  |  |  |  | SEND WARN SYS SILENCE Y/N |  |  |  |  |  |  |
| RECEIVE EXTERNAL BELL SILENCE Y/N |  |  |  |  |  |  |  |  | SEND EXT BELL SILENCE Y/N |  |  |  |  |  |  |
| NETWORK COMMAND CONFIG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ACK TIME |  |  |  | WORK TIME |  |  |  |  |  | RX NET TIME/DATE Y/N |  |  |  |  |  |
| TX NET TIME/DATE Y/N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NETWORK FF CONFIG (some options are not present, depending on the software version) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TX ALARMS Y/N |  |  |  | DEDICATED TX SID |  |  |  |  |  |  |  |  | RX NET ACK Y/N |  |  |
| TX ISO/RESET CMDS Y/N |  |  |  | TX ACK CMDS Y/N |  |  |  |  |  |  |  |  |  |  |  |
| NETWORK EVENT CONFIG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TRANSMIT EVENTS Y/N |  |  |  |  |  |  |  | TRANSMIT EVENT UPDATES Y/N |  |  |  |  |  |  |  |
| TRANSMIT RELAY OPERATES Y/N |  |  |  |  |  |  |  | ZONE/RELAY CMD TEXT TX Y/N |  |  |  |  |  |  |  |
| ZONE/RLY EVENT TEXT TX Y/N |  |  |  |  |  |  |  | SYSTEM EVENT TEXT TX Y/N |  |  |  |  |  |  |  |
| NETWORK VARIABLE CONFIG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TX ENABLED Y/N |  |  |  |  | TX REFRESH RATE |  |  |  |  |  |  |  |  | MAX COS TX RATE |  |
| NETWORK STATUS REFRESH CONFIG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| REFRESH ENABLED Y/N |  |  |  |  | TX REFRESH RATE |  |  |  |  |  |  |  |  | FAST TX RATE |  |

F3200/NDU CONFIGURATION 	REF:...............

- NETWORK SID LIST CONFIGURATION

| SID NO. 1-254 | LINK RX Y/N | LOG EVNT Y/N | RX FF Y/N | TX CMD Y/N | RX CMD Y/N | USE MAF Y/N | USE TOTALS Y/N | STATUS SEARCH Y/N |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

F3200/NDU CONFIGURATION 	REF:...............

| GLOBAL FF ZONE OPTIONS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | MAP FF Y/N | ALM SNDR Y/N | MULTI ALM Y/N | ACK TX Y/N | ACK RX Y/N | LOC ACK Y/N | RESET FF Y/N | ISO FF Y/N |
| Global Settings |  |  |  |  |  |  |  |  |

| INDIVIDUAL FF ZONE OPTIONS |  |  |  |  |  |  |  |  | PAGE 1 / |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SID | START ZONE | END ZONE | MAP FF Y/N | ALM SNDR Y/N | MULTI ALM Y/N | ACK TX Y/N | ACK RX Y/N | LOC ACK Y/N | RESET FF Y/N | ISO FF Y/N |

F3200/NDU CONFIGURATION 	REF:...............

| INDIVIDUAL FF ZONE OPTIONS CONTINUED |  |  |  |  |  |  |  |  | PAGE / |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SID | START ZONE | END ZONE | MAP FF Y/N | ALM SNDR Y/N | MULTI ALM Y/N | ACK TX Y/N | ACK RX Y/N | LOC ACK Y/N | RESET FF Y/N | ISO FF Y/N |

F3200/NDU CONFIGURATION 	REF:...............

| NETWORK ZONE TO LED MAPPING |  |  |  |  |  | PAGE / |
| --- | --- | --- | --- | --- | --- | --- |
| SID | START ZONE | END ZONE | START LED | END LED | COMMENTS |  |